## Summary
ABLE ESTIMATING LLC
Accuracy • Ability • On Time ¦ ableestimating.com ¦ (786) 887-6161 ¦ hire@ableestimating.com
Quantity Takeoff Summary
Project: | Public Health Services Building – Complete Takeoff
Location: | —
Scope: | Complete GC takeoff – Divisions 02 through 33 (building, sitework, landscape & utilities)
Deliverable: | Itemized quantity takeoff – quantities only
CSI Division | Line Items | Each (EA) | Linear Ft (LF) | Square Ft (SF) | Cubic Yd (CY) | Key Items
02 – Demolition | 10 | 34 | 2137.97 | 29267.6 | 0 | Site Demolition, Relocation, Preparation
03 – Concrete | 20 | 0 | 0 | 0 | 1006.6181 | Concrete Pier, Pile Cap, Trash Enclosure, Slab
04 – Unit Masonry | 2 | 0 | 0 | 10223.95 | 0 | Exterior
05 – Metals | 76 | 79 | 938.61 | 67081.93 | 0 | Steel Column, Steel Plates, Steel Beams, Joists, Decking, …
06 – Wood, Plastics & Composites | 4 | 0 | 7610 | 6088 | 0 | 1/2" Plywood Sheathing, 3/4" Plywood Sheathing, 2X4 Blocking, 2X6 Blocking
07 – Thermal and Moisture Protection | 15 | 35 | 1242.98 | 65457.7 | 0 | Roofing
08 – Openings | 22 | 478 | 428 | 13635 | 0 | Doors, Storefront, Curtain Walls
09 – Finishes | 112 | 220 | 94806.65 | 809619.6761 | 0 | Walls, Ceiling, Flooring, Wall Tile, Exterior Finishes, …
10 – Specialties | 18 | 572 | 4 | 0 | 0 | Bath Accessories, Elevator
11 – Equipment | 8 | 731 | 0 | 0 | 0 | A15 Washer / Dryer, A17 Wall Mounted Baby…, Dish Washer, Drinking Fountain, Kitchen Hood, …
12 – Furnishings | 11 | 5 | 676.58 | 1176.16 | 0 | Millwork
31 – Earthwork | 3 | 0 | 0 | 48120 | 1774.375 | Grading
32 – Exterior Improvements | 91 | 1204 | 5571.84 | 172106.57 | 42.3333 | Pavement, Concrete Sidewalk, Concrete Curbs, Site Signage, Retaining Wall, …
33 – Utilities | 42 | 104 | 8102.41 | 14142.6 | 4157.2222 | Pipes, Miscellaneous, Trenching, Irrigation Pipes
Total | 434 | 3462 | 121519.04 | 1236919.1861 | 6980.5487
What's included in our takeoffs
• Itemized quantities by CSI division, floor level, category and size
• Color-coded marked-up drawings in PlanSwift / Bluebeam Revu
• Specs pulled from plans and schedules (types, sizes, materials, models)
• Waste factors applied where needed
• Optional: full pricing with material, labor, overhead & profit
Takeoffs delivered in 24–48 hours • Start with a $200 trial project • ableestimating.com

## Quantity Takeoff
ABLE ESTIMATING LLC
Accuracy • Ability • On Time ¦ ableestimating.com ¦ (786) 887-6161 ¦ hire@ableestimating.com
Detailed Quantity Takeoff
Project: |  | Public Health Services Building – Complete Takeoff
Location: |  | —
Scope: |  | Complete GC takeoff – Divisions 02 through 33 (building, sitework, landscape & utilities)
Item # | CSI Division | Level | Category | Item Description | Specification / Notes | Qty | Waste % | Qty w/ Waste | Unit
02 – DEMOLITION
1 | 02 – Demolition | — | Site Demolition | Existing Concrete Curb To Be Removed |  | 2053.99 | 0% | 2053.99 | LF
2 | 02 – Demolition | — | Site Demolition | Existing Concrete Sidewalk To Be Removed |  | 4114.29 | 0% | 4114.29 | SF
3 | 02 – Demolition | — | Site Demolition | Existing Asphalt Parking Lot To Be Removed |  | 23320.31 | 0% | 23320.31 | SF
4 | 02 – Demolition | — | Site Demolition | Existing Trees To Be Removed |  | 26 | 0% | 26 | EA
5 | 02 – Demolition | — | Site Demolition | Existing Light Pole To Be Removed |  | 5 | 0% | 5 | EA
6 | 02 – Demolition | — | Site Demolition | Existing Double Yellow Strip Line To Be Removed |  | 83.98 | 0% | 83.98 | LF
7 | 02 – Demolition | — | Site Demolition | Patch & Repair Asphalt Pavement |  | 217.63 | 0% | 217.63 | SF
8 | 02 – Demolition | — | Relocation | Existing Signage To Be Relocated |  | 2 | 0% | 2 | EA
9 | 02 – Demolition | — | Relocation | Existing Fire Hydrant To Be Relocated |  | 1 | 0% | 1 | EA
10 | 02 – Demolition | — | Preparation | Restore Existing Irrigation Area |  | 1615.37 | 0% | 1615.37 | SF
03 – CONCRETE
11 | 03 – Concrete | — | Concrete Pier | P1: 24 X 24 8-#6 Verts And #3 Ties @14" OC. (33 EA) |  | 4.8889 | 10% | 5.3778 | CY
12 | 03 – Concrete | — | Concrete Pier | P2: 36 X 28 8-#8 Verts And #3 Ties @16" OC. (9 EA) |  | 2.3333 | 10% | 2.5666 | CY
13 | 03 – Concrete | — | Concrete Pier | P3: 36 X 32 8-#8 Verts And #3 Ties @16" OC (2 EA) |  | 0.5926 | 10% | 0.65186 | CY
14 | 03 – Concrete | — | Concrete Pier | P4: 42 X 28 12-#7 Verts And #3 Ties @12" OC (12 EA) |  | 3.6296 | 10% | 3.9926 | CY
15 | 03 – Concrete | — | Concrete Pier | P5: 36 X 24 8-#7 Verts And #3 Ties @12" OC (2 EA) |  | 0.4444 | 10% | 0.48884 | CY
16 | 03 – Concrete | — | Pile Cap | Pc1: 2'-6"X5'-6" 2' - 10" | Bottom: 7-#7 In Short Direction, 8-#5 In Long Direction; Piles: 2 Ea (15 EA) | 21.618 | 10% | 23.7798 | CY
17 | 03 – Concrete | — | Pile Cap | Pc1A: 5'-6"X5'-6" 3' - 7" | Bottom: 9-#7 In Short Direction, 6-#6 In Long Direction; Piles: 2 Ea (4 EA) | 16.057 | 10% | 17.6627 | CY
18 | 03 – Concrete | — | Pile Cap | Pc2: 6'-6"X6'-6" 3' - 0" | Bottom: 13-#6 Each Way: At Grid-15/B, 17/B & 17/E, Provide Top Reinf #5@12" OC Each Way; Piles: 4 Ea (11 EA) | 51.639 | 10% | 56.8029 | CY
19 | 03 – Concrete | — | Pile Cap | Pc3: 6'-6"X6'-6" 3' - 4" | Bottom: 8-#9 Each Way; Piles: 4 Ea (8 EA) | 41.687 | 10% | 45.8557 | CY
20 | 03 – Concrete | — | Pile Cap | Pc4: 6'-6"X9'-6" 4' - 0" | Bottom: 10-#9 In Short Direction, 13-#8 In Long Direction. Top: #5@12" OC Each Way.; At Grid-12/M - Bottom: 12-#9 In Short Direction, 12-#9 In Long Direction: 4'-6" At Grid 12M; Piles: 6 Ea (35 EA) | 219.07 | 10% | 240.977 | CY
21 | 03 – Concrete | — | Pile Cap | Pc6: 12'-3"X22-0" 4' - 0" | Bottom: 13-#8 In Short Direction, 13-#8 In Long Direction. Top: #5@12" OC Each Way; Piles: 12 Ea (1 EA) | 40.196 | 10% | 44.2156 | CY
22 | 03 – Concrete | — | Pile Cap | Pc7: 6'-6"X9'-6" 3' - 11" | Bottom: 17 - #9 Each Way Top: #5@12" OC Each Way; Piles: 9 Ea (1 EA) | 8.9583 | 10% | 9.8541 | CY
23 | 03 – Concrete | — | Trash Enclosure | 8" Cast In Place Wall W/ | #6 @ 12" OC Vertical , #5 @ 12" Horizontal (47.85 Lf) | 9.4566 | 10% | 10.4023 | CY
24 | 03 – Concrete | — | Trash Enclosure | Gb2: 18"X30" Beam W/ | 2-5#6, #5 @ 10" OC #4 6 St @6" OC Each End. Rem @ 10" OC (48.24 Lf) | 6.7 | 10% | 7.37 | CY
25 | 03 – Concrete | — | Trash Enclosure | Pc1: 2'-6"X5'-6" 2' - 10" | Bottom: 7-#7 In Short Direction, 8-#5 In Long Direction; Piles: 2 Ea (4 EA) | 5.7648 | 10% | 6.3413 | CY
26 | 03 – Concrete | — | Slab | 4'-0"X5'-0 Concrete Stoop (4 EA) |  | 1.1852 | 10% | 1.3037 | CY
27 | 03 – Concrete | — | Slab | 8" Thick Concrete Wall 144'-9" H (56.31 Lf) |  | 201.36 | 10% | 221.496 | CY
28 | 03 – Concrete | — | Slab | Gb1: 14"X30" Beam W/ 2-5#6, #5 @ 10" OC #4 6 St @6" OC Each End. Rem @ 10" OC (1017.51 Lf) |  | 109.92 | 10% | 120.912 | CY
29 | 03 – Concrete | — | Slab | 4" Slab On Grade W/ Micro Fiber Reinforcement (Min 1.5 Pound Per Cubic Yard) (21123.23 Sf) |  | 260.52 | 10% | 286.572 | CY
30 | 03 – Concrete | — | Slab | 6" Concrete Pad (32.26 Sf) |  | 0.5974 | 10% | 0.65714 | CY
04 – UNIT MASONRY
31 | 04 – Unit Masonry | — | Exterior | Architectural Precast Concrete |  | 797.55 | 10% | 877.305 | SF
32 | 04 – Unit Masonry | — | Exterior | Stone Masonry Veneer |  | 9426.4 | 10% | 10369.04 | SF
05 – METALS
33 | 05 – Metals | — | Steel Column | C1: W10X49 (3 EA) |  | 6174 | 10% | 6791.4 | LBS
34 | 05 – Metals | — | Steel Column | C1A: W10X49 (9 EA) |  | 18522 | 10% | 20374.2 | LBS
35 | 05 – Metals | — | Steel Column | C1B: W10X49 (1 EA) |  | 2058 | 10% | 2263.8 | LBS
36 | 05 – Metals | — | Steel Column | C2: W12X65 (3 EA) |  | 8190 | 10% | 9009 | LBS
37 | 05 – Metals | — | Steel Column | C3: HSS5X5X3/8 (4 EA) |  | 3758.2 | 10% | 4134.02 | LBS
38 | 05 – Metals | — | Steel Column | C4: W12X65 (7 EA) |  | 19110 | 10% | 21021 | LBS
39 | 05 – Metals | — | Steel Column | C4A: W12X65 (16 EA) |  | 43680 | 10% | 48048 | LBS
40 | 05 – Metals | — | Steel Column | C5: W8X48 (27 EA) |  | 54432 | 10% | 59875.2 | LBS
41 | 05 – Metals | — | Steel Column | C5A: W8X48 (3 EA) |  | 6048 | 10% | 6652.8 | LBS
42 | 05 – Metals | — | Steel Column | C6: HSS6X6X3/8 (1 EA) |  | 1154.2 | 10% | 1269.62 | LBS
43 | 05 – Metals | — | Steel Plates | Plate - 1X14X1'-2" |  | 3 | 0% | 3 | EA
44 | 05 – Metals | — | Steel Plates | Plate - 1X16X1'-4" W/ (6)-1" Dia. Anchors (24" Embedment). |  | 9 | 0% | 9 | EA
45 | 05 – Metals | — | Steel Plates | Plate - 1X14X1'-2" |  | 1 | 0% | 1 | EA
46 | 05 – Metals | — | Steel Plates | Plate - 1 1/2X16X2'-1" W/ (12)-1" Dia. Anchors (24" Embedment) |  | 3 | 0% | 3 | EA
47 | 05 – Metals | — | Steel Plates | Plate - 1X12X12"W/ (4) 1" Dia Anchors Embed 12" In Concrete |  | 4 | 0% | 4 | EA
48 | 05 – Metals | — | Steel Plates | Plate - 1X14"X1'-2" |  | 7 | 0% | 7 | EA
49 | 05 – Metals | — | Steel Plates | Plate - 1 1/2X20X2'-1"W/ (8) 1" Dia Anchors Embed 12" In Concrete |  | 16 | 0% | 16 | EA
50 | 05 – Metals | — | Steel Plates | Plate - 1X12X1'-0" |  | 27 | 0% | 27 | EA
51 | 05 – Metals | — | Steel Plates | Plate - 1 1/2X16"X1'-4"W/ (4) 1" Dia Anchors Embed 12" In Concrete |  | 3 | 0% | 3 | EA
52 | 05 – Metals | — | Steel Plates | Plate - 1X14X1'-4" |  | 1 | 0% | 1 | EA
53 | 05 – Metals | — | Steel Beams | C6X13 (193.43 LF) |  | 2514.6 | 10% | 2766.06 | LBS
54 | 05 – Metals | — | Steel Beams | Hss3X1X3/16 (131 LF) |  | 565.92 | 10% | 622.512 | LBS
55 | 05 – Metals | — | Steel Beams | Hss4X4X3/8 (524.88 LF) |  | 9064.7 | 10% | 9971.17 | LBS
56 | 05 – Metals | — | Steel Beams | Hss5X5X3/16 (106.05 LF) |  | 1269.4 | 10% | 1396.34 | LBS
57 | 05 – Metals | — | Steel Beams | Hss6X4X1/4 Lsv (89.76 LF) |  | 1400.3 | 10% | 1540.33 | LBS
58 | 05 – Metals | — | Steel Beams | Hss6X6X3/8 (459.37 LF) |  | 12587 | 10% | 13845.7 | LBS
59 | 05 – Metals | — | Steel Beams | Hss6X6X5/16 (214.87 LF) |  | 5006.5 | 10% | 5507.15 | LBS
60 | 05 – Metals | — | Steel Beams | Hss8X8X3/8 (63.82 LF) |  | 2399.6 | 10% | 2639.56 | LBS
61 | 05 – Metals | — | Steel Beams | L3X3X1/4 (3358 LF) |  | 16421 | 10% | 18063.1 | LBS
62 | 05 – Metals | — | Steel Beams | W10X12 (40.82 LF) |  | 489.84 | 10% | 538.824 | LBS
63 | 05 – Metals | — | Steel Beams | W12X19 (796.5 LF) |  | 15134 | 10% | 16647.4 | LBS
64 | 05 – Metals | — | Steel Beams | W12X22 (366.76 LF) |  | 8068.7 | 10% | 8875.57 | LBS
65 | 05 – Metals | — | Steel Beams | W12X26 (151.76 LF) |  | 3945.8 | 10% | 4340.38 | LBS
66 | 05 – Metals | — | Steel Beams | W12X30 (88.12 LF) |  | 2643.6 | 10% | 2907.96 | LBS
67 | 05 – Metals | — | Steel Beams | W12X35 (269.26 LF) |  | 9424.1 | 10% | 10366.51 | LBS
68 | 05 – Metals | — | Steel Beams | W14X22 (2425.14 LF) |  | 53353 | 10% | 58688.3 | LBS
69 | 05 – Metals | — | Steel Beams | W14X26 (161.81 LF) |  | 4207.1 | 10% | 4627.81 | LBS
70 | 05 – Metals | — | Steel Beams | W14X30 (83.45 LF) |  | 2503.5 | 10% | 2753.85 | LBS
71 | 05 – Metals | — | Steel Beams | W14X34 (16 LF) |  | 544 | 10% | 598.4 | LBS
72 | 05 – Metals | — | Steel Beams | W16X26 (2243 LF) |  | 58318 | 10% | 64149.8 | LBS
73 | 05 – Metals | — | Steel Beams | W16X31 (219.13 LF) |  | 6793 | 10% | 7472.3 | LBS
74 | 05 – Metals | — | Steel Beams | W16X36 (96.07 LF) |  | 3458.5 | 10% | 3804.35 | LBS
75 | 05 – Metals | — | Steel Beams | W16X40 (281.79 LF) |  | 11272 | 10% | 12399.2 | LBS
76 | 05 – Metals | — | Steel Beams | W16X50 (31.93 LF) |  | 1596.5 | 10% | 1756.15 | LBS
77 | 05 – Metals | — | Steel Beams | W16X57 (31.94 LF) |  | 1820.6 | 10% | 2002.66 | LBS
78 | 05 – Metals | — | Steel Beams | W18X35 (120.08 LF) |  | 4202.8 | 10% | 4623.08 | LBS
79 | 05 – Metals | — | Steel Beams | W18X40 (182.14 LF) |  | 7285.6 | 10% | 8014.16 | LBS
80 | 05 – Metals | — | Steel Beams | W21X44 (554.45 LF) |  | 24396 | 10% | 26835.6 | LBS
81 | 05 – Metals | — | Steel Beams | W21X48 (32 LF) |  | 1536 | 10% | 1689.6 | LBS
82 | 05 – Metals | — | Steel Beams | W21X50 (30.74 LF) |  | 1537 | 10% | 1690.7 | LBS
83 | 05 – Metals | — | Steel Beams | W21X57 (31.5 LF) |  | 1795.5 | 10% | 1975.05 | LBS
84 | 05 – Metals | — | Steel Beams | W24X104 (18.86 LF) |  | 1961.4 | 10% | 2157.54 | LBS
85 | 05 – Metals | — | Steel Beams | W24X55 (171.47 LF) |  | 9430.9 | 10% | 10373.99 | LBS
86 | 05 – Metals | — | Steel Beams | W24X62 (149.15 LF) |  | 9247.3 | 10% | 10172.03 | LBS
87 | 05 – Metals | — | Steel Beams | W24X68 (100.9 LF) |  | 6861.2 | 10% | 7547.32 | LBS
88 | 05 – Metals | — | Steel Beams | W24X76 (180.07 LF) |  | 13685 | 10% | 15053.5 | LBS
89 | 05 – Metals | — | Steel Beams | W24X84 (73.32 LF) |  | 6158.9 | 10% | 6774.79 | LBS
90 | 05 – Metals | — | Steel Beams | W30X116 (59.54 LF) |  | 6906.6 | 10% | 7597.26 | LBS
91 | 05 – Metals | — | Steel Beams | W30X90 (174.4 LF) |  | 15696 | 10% | 17265.6 | LBS
92 | 05 – Metals | — | Steel Beams | W30X99 (238.04 LF) |  | 23566 | 10% | 25922.6 | LBS
93 | 05 – Metals | — | Steel Beams | W8X10 (120.55 LF) |  | 1205.5 | 10% | 1326.05 | LBS
94 | 05 – Metals | — | Steel Beams | W8X24 (29.52 LF) |  | 708.48 | 10% | 779.328 | LBS
95 | 05 – Metals | — | Joists | 14Ksp Joist |  | 155.3 | 10% | 170.83 | LF
96 | 05 – Metals | — | Joists | 18Ksp 185/85 Joist |  | 111.04 | 10% | 122.144 | LF
97 | 05 – Metals | — | Joists | 24Ksp Joist |  | 280.4 | 10% | 308.44 | LF
98 | 05 – Metals | — | Joists | 16K2 Joists @ 5'-8 3/8" |  | 616.36 | 10% | 677.996 | SF
99 | 05 – Metals | — | Joists | 18K3 Joists @ 5'-8 3/8" |  | 727.17 | 10% | 799.887 | SF
100 | 05 – Metals | — | Joists | 24Ksp Joists @ 5'-8 3/8" |  | 9548.4 | 10% | 10503.24 | SF
101 | 05 – Metals | — | Decking | 1-1/2" 20 Ga. Type B Roof Deck |  | 14298 | 10% | 15727.8 | SF
102 | 05 – Metals | — | Decking | 2" - 20Ga.Composite Deck W/ 2-1/2" Normal Weight Concrete (4 1/2" Total Thickness) |  | 37326 | 10% | 41058.6 | SF
103 | 05 – Metals | — | Stairs | 1.5" Od Round Wood Handrail |  | 199.49 | 10% | 219.439 | LF
104 | 05 – Metals | — | Stairs | 3'-6" H 3" Dia Round Wood Railing W/ | 1" Painted Metal Palustrate | 192.38 | 10% | 211.618 | LF
105 | 05 – Metals | — | Stairs | 4'-2" W Steel Stair A1 W/ Concrete Toping | Treads: 23 Ea; Risers: 25 Ea; Landing Area: 1 Ea | 1 | 0% | 1 | EA
106 | 05 – Metals | — | Stairs | 4'-2" W Steel Stair B W/ Concrete Toping | Treads: 22 Ea; Risers: 24 Ea; Landing Area: 1 Ea | 2 | 0% | 2 | EA
107 | 05 – Metals | — | Stairs | 5'-0" W Steel Stair A2 W/ Concrete Toping | Treads: 22 Ea; Risers: 24 Ea; Landing Area: 1 Ea | 2 | 0% | 2 | EA
108 | 05 – Metals | — | Stairs | 6" Metal Studs @ 16" OC |  | 4566 | 10% | 5022.6 | SF
06 – WOOD, PLASTICS & COMPOSITES
109 | 06 – Wood, Plastics & Composites | — | General | 1/2" Plywood Sheathing |  | 3044 | 10% | 3348.4 | SF
110 | 06 – Wood, Plastics & Composites | — | General | 3/4" Plywood Sheathing |  | 3044 | 10% | 3348.4 | SF
111 | 06 – Wood, Plastics & Composites | — | General | 2X4 Blocking |  | 4566 | 10% | 5022.6 | LF
112 | 06 – Wood, Plastics & Composites | — | General | 2X6 Blocking |  | 3044 | 10% | 3348.4 | LF
07 – THERMAL AND MOISTURE PROTECTION
113 | 07 – Thermal and Moisture Protection | — | Roofing | 2'-0" W Roof Access Ship Ladder |  | 1 | 0% | 1 | EA
114 | 07 – Thermal and Moisture Protection | — | Roofing | 2'-3"X8'-0" Insulated Roof Hatch |  | 1 | 0% | 1 | EA
115 | 07 – Thermal and Moisture Protection | — | Roofing | Combustion Stack |  | 5 | 0% | 5 | EA
116 | 07 – Thermal and Moisture Protection | — | Roofing | Equipment Screen @ Roof 10'-0" H |  | 232.58 | 10% | 255.838 | LF
117 | 07 – Thermal and Moisture Protection | — | Roofing | Roof Drain + 2 Overflow Drain |  | 18 | 0% | 18 | EA
118 | 07 – Thermal and Moisture Protection | — | Roofing | Roof Top Unit |  | 4 | 0% | 4 | EA
119 | 07 – Thermal and Moisture Protection | — | Roofing | Vent Stack, Pipe Or Conduit |  | 3 | 0% | 3 | EA
120 | 07 – Thermal and Moisture Protection | — | Roofing | 6" Thick Roof Insulation |  | 22327 | 10% | 24559.7 | SF
121 | 07 – Thermal and Moisture Protection | — | Roofing | Cricket / Tapered Insulation |  | 4416.5 | 10% | 4858.15 | SF
122 | 07 – Thermal and Moisture Protection | — | Roofing | Roof Pavers | 4'-0"X4'-0" Concrete Pavers Size | 1236.3 | 10% | 1359.93 | SF
123 | 07 – Thermal and Moisture Protection | — | Roofing | Spray Foam Insulation |  | 2311.9 | 10% | 2543.09 | SF
124 | 07 – Thermal and Moisture Protection | — | Roofing | Cu: Condensing Unit @ Roof |  | 3 | 0% | 3 | EA
125 | 07 – Thermal and Moisture Protection | — | Roofing | Prefinished Metal Coping |  | 1010.4 | 10% | 1111.44 | LF
126 | 07 – Thermal and Moisture Protection | — | Roofing | 2" Rigid Insulation |  | 4566 | 10% | 5022.6 | SF
127 | 07 – Thermal and Moisture Protection | — | Roofing | House Wrap |  | 30600 | 10% | 33660 | SF
08 – OPENINGS
128 | 08 – Openings | — | Doors | 3'-0"X7'-0" Aluminum Door W/ Frame |  | 19 | 0% | 19 | EA
129 | 08 – Openings | — | Doors | 3'-0"X7'-0" Wooden Door W/ Frame |  | 213 | 0% | 213 | EA
130 | 08 – Openings | — | Doors | 2'-8"X7'-0" Wooden Door W/ Frame |  | 1 | 0% | 1 | EA
131 | 08 – Openings | — | Doors | 3'-0"X7'-0" Hollow Metal Door W/ Frame |  | 2 | 0% | 2 | EA
132 | 08 – Openings | — | Doors | 3'-0"X4'-0" Hollow Metal Door W/ Frame |  | 1 | 0% | 1 | EA
133 | 08 – Openings | — | Doors | 3'-6"X4'-0" Hollow Metal Door W/ Frame |  | 2 | 0% | 2 | EA
134 | 08 – Openings | — | Doors | 8'-0"X4'-0" Hollow Metal Door W/ Frame |  | 1 | 0% | 1 | EA
135 | 08 – Openings | — | Doors | Doors Hardware W/ Accessories |  | 239 | 0% | 239 | EA
136 | 08 – Openings | — | Storefront | ISF: Storefront - 01 (12'-8" H) |  | 17.51 | 10% | 19.261 | LF
137 | 08 – Openings | — | Storefront | ISF: Storefront - 02 (5'-4" H) |  | 30.89 | 10% | 33.979 | LF
138 | 08 – Openings | — | Storefront | ISF: Storefront - 03 (8'-6" H) |  | 8.29 | 10% | 9.119 | LF
139 | 08 – Openings | — | Storefront | ISF: Storefront - 04 (8'-4" H) |  | 35.69 | 10% | 39.259 | LF
140 | 08 – Openings | — | Storefront | ISF: Storefront - 05 (8'-6" H) |  | 6.13 | 10% | 6.743 | LF
141 | 08 – Openings | — | Storefront | ISF: Storefront - 06 (8'-6" H) |  | 176.25 | 10% | 193.875 | LF
142 | 08 – Openings | — | Storefront | ISF: Storefront - 07 (9'-6" H) |  | 22.79 | 10% | 25.069 | LF
143 | 08 – Openings | — | Storefront | ISF: Storefront - 08 (9'-6" H) |  | 19.27 | 10% | 21.197 | LF
144 | 08 – Openings | — | Storefront | ISF: Storefront - 09 (8'-6" H) |  | 24.19 | 10% | 26.609 | LF
145 | 08 – Openings | — | Storefront | ISF: Storefront - 10 (10'-5" H) |  | 43.32 | 10% | 47.652 | LF
146 | 08 – Openings | — | Storefront | ISF: Storefront - 11 (8'-6" H) |  | 7.62 | 10% | 8.382 | LF
147 | 08 – Openings | — | Storefront | ISF: Storefront - 12 (3'-8" H) |  | 21.66 | 10% | 23.826 | LF
148 | 08 – Openings | — | Storefront | ISF: Storefront - 13 (2'-0" H) |  | 14.39 | 10% | 15.829 | LF
149 | 08 – Openings | — | Curtain Walls | Curtain 2.5" X 7.25" |  | 13635 | 10% | 14998.5 | SF
09 – FINISHES
150 | 09 – Finishes | — | Walls | Wall Type Ga6 |  | 4762.9 | 0% | 4762.9 | LF
151 | 09 – Finishes | — | Walls | 5/8" Gypsum Board |  | 130198 | 10% | 143217.8 | SF
152 | 09 – Finishes | — | Walls | 3-5/8" Metal Studs @ 16" OC |  | 65099 | 10% | 71608.9 | SF
153 | 09 – Finishes | — | Walls | 3-5/8" Metal Runners Top & Bottom |  | 9525.7 | 10% | 10478.27 | LF
154 | 09 – Finishes | — | Walls | 3-5/8" Metal Noggin @ Mid |  | 4762.9 | 10% | 5239.19 | LF
155 | 09 – Finishes | — | Walls | Sound Batt Insulation |  | 65099 | 10% | 71608.9 | SF
156 | 09 – Finishes | — | Walls | Acoustic Sealant |  | 19051 | 10% | 20956.1 | LF
157 | 09 – Finishes | — | Walls | Wall Type Ga7 |  | 266.94 | 10% | 293.634 | LF
158 | 09 – Finishes | — | Walls | 5/8" Gypsum Board |  | 7297.1 | 10% | 8026.81 | SF
159 | 09 – Finishes | — | Walls | 6" Metal Studs @ 16" OC |  | 3648.5 | 0% | 3648.5 | SF
160 | 09 – Finishes | — | Walls | 6" Metal Runners Top & Bottom |  | 533.88 | 10% | 587.268 | LF
161 | 09 – Finishes | — | Walls | 6" Metal Noggin @ Mid |  | 266.94 | 10% | 293.634 | LF
162 | 09 – Finishes | — | Walls | Sound Batt Insulation |  | 3648.5 | 10% | 4013.35 | SF
163 | 09 – Finishes | — | Walls | Acoustic Sealant |  | 1067.8 | 10% | 1174.58 | LF
164 | 09 – Finishes | — | Walls | Wall Type Ga8 |  | 133 | 10% | 146.3 | LF
165 | 09 – Finishes | — | Walls | 5/8" Gypsum Board |  | 3635.7 | 10% | 3999.27 | SF
166 | 09 – Finishes | — | Walls | 8" Metal Studs @ 18" OC |  | 1817.8 | 10% | 1999.58 | SF
167 | 09 – Finishes | — | Walls | 8" Metal Runners Top & Bottom |  | 266 | 10% | 292.6 | LF
168 | 09 – Finishes | — | Walls | 8" Metal Noggin @ Mid |  | 133 | 0% | 133 | LF
169 | 09 – Finishes | — | Walls | Sound Batt Insulation |  | 1817.8 | 10% | 1999.58 | SF
170 | 09 – Finishes | — | Walls | Acoustic Sealant |  | 532 | 10% | 585.2 | LF
171 | 09 – Finishes | — | Walls | Wall Type Gd6 |  | 16.13 | 10% | 17.743 | LF
172 | 09 – Finishes | — | Walls | 5/8" Gypsum Board |  | 290.34 | 10% | 319.374 | SF
173 | 09 – Finishes | — | Walls | 3-5/8" Metal Studs @ 16" OC |  | 145.17 | 10% | 159.687 | SF
174 | 09 – Finishes | — | Walls | 3-5/8" Metal Runners Top & Bottom |  | 32.26 | 10% | 35.486 | LF
175 | 09 – Finishes | — | Walls | 3-5/8" Metal Noggin @ Mid |  | 16.13 | 10% | 17.743 | LF
176 | 09 – Finishes | — | Walls | 3-5/8" Metal Stud Kickers @ 4'-0" OC |  | 80.52 | 10% | 88.572 | LF
177 | 09 – Finishes | — | Walls | Sound Batt Insulation |  | 145.17 | 0% | 145.17 | SF
178 | 09 – Finishes | — | Walls | Acoustic Sealant |  | 64.52 | 10% | 70.972 | LF
179 | 09 – Finishes | — | Walls | Wall Type Gb1 |  | 558.22 | 10% | 614.042 | LF
180 | 09 – Finishes | — | Walls | 5/8" Gypsum Board |  | 7629.8 | 10% | 8392.78 | SF
181 | 09 – Finishes | — | Walls | 2-1/2" Metal Studs @ 16" OC |  | 7629.8 | 10% | 8392.78 | SF
182 | 09 – Finishes | — | Walls | 2-1/2" Metal Runners Top & Bottom |  | 1116.4 | 10% | 1228.04 | LF
183 | 09 – Finishes | — | Walls | 2-1/2" Metal Noggin @ Mid |  | 558.22 | 10% | 614.042 | LF
184 | 09 – Finishes | — | Walls | Acoustic Sealant |  | 1116.4 | 10% | 1228.04 | LF
185 | 09 – Finishes | — | Walls | Wall Type Gb2 |  | 781.41 | 10% | 859.551 | LF
186 | 09 – Finishes | — | Walls | 5/8" Gypsum Board |  | 10680 | 0% | 10680 | SF
187 | 09 – Finishes | — | Walls | 3-5/8" Metal Studs @ 16" OC |  | 10680 | 10% | 11748 | SF
188 | 09 – Finishes | — | Walls | 3-5/8" Metal Runners Top & Bottom |  | 1562.8 | 10% | 1719.08 | LF
189 | 09 – Finishes | — | Walls | 3-5/8" Metal Noggin @ Mid |  | 781.41 | 10% | 859.551 | LF
190 | 09 – Finishes | — | Walls | Acoustic Sealant |  | 1562.8 | 10% | 1719.08 | LF
191 | 09 – Finishes | — | Walls | Wall Type Gn2 |  | 146 | 0% | 146 | LF
192 | 09 – Finishes | — | Walls | 5/8" Gypsum Board |  | 7982.1 | 10% | 8780.31 | SF
193 | 09 – Finishes | — | Walls | 3-5/8" Metal Studs @ 16" OC |  | 1995.5 | 10% | 2195.05 | SF
194 | 09 – Finishes | — | Walls | 3-5/8" Metal Runners Top & Bottom |  | 292 | 10% | 321.2 | LF
195 | 09 – Finishes | — | Walls | 3-5/8" Metal Noggin @ Mid |  | 146 | 10% | 160.6 | LF
196 | 09 – Finishes | — | Walls | Acoustic Sealant |  | 584 | 10% | 642.4 | LF
197 | 09 – Finishes | — | Walls | Wall Type Xb7 |  | 141.44 | 0% | 141.44 | LF
198 | 09 – Finishes | — | Walls | 1/2" Gypsum Board |  | 3866.4 | 10% | 4253.04 | SF
199 | 09 – Finishes | — | Walls | 1" Gypsum Core Board Shaft Wall |  | 1933.2 | 10% | 2126.52 | SF
200 | 09 – Finishes | — | Walls | 6" Metal Studs @ 16" OC |  | 1933.2 | 10% | 2126.52 | SF
201 | 09 – Finishes | — | Walls | 6" Metal Runners Top & Bottom |  | 282.88 | 10% | 311.168 | LF
202 | 09 – Finishes | — | Walls | 6" Metal Noggin @ Mid |  | 141.44 | 10% | 155.584 | LF
203 | 09 – Finishes | — | Walls | Sound Batt Insulation |  | 1933.2 | 10% | 2126.52 | SF
204 | 09 – Finishes | — | Walls | Acoustic Sealant |  | 565.76 | 10% | 622.336 | LF
205 | 09 – Finishes | — | Walls | Exterior Wall |  | 2444.9 | 0% | 2444.9 | LF
206 | 09 – Finishes | — | Walls | 5/8" Mold Type X Gypsum Board |  | 33417 | 10% | 36758.7 | SF
207 | 09 – Finishes | — | Walls | 5/8" Type X Gypsum Board Sheathing |  | 33417 | 10% | 36758.7 | SF
208 | 09 – Finishes | — | Walls | 6" Metal Studs @ 16" OC |  | 33417 | 10% | 36758.7 | SF
209 | 09 – Finishes | — | Walls | 6" Metal Runners Top & Bottom |  | 4889.8 | 10% | 5378.78 | LF
210 | 09 – Finishes | — | Walls | 6" Metal Noggin @ Mid |  | 2444.9 | 10% | 2689.39 | LF
211 | 09 – Finishes | — | Walls | Spray Foam Insulation To R-13 Min |  | 33417 | 10% | 36758.7 | SF
212 | 09 – Finishes | — | Walls | Acoustic Sealant |  | 9779.6 | 10% | 10757.56 | LF
213 | 09 – Finishes | — | Walls | F5/A5207 Soffit |  | 49.41 | 0% | 49.41 | LF
214 | 09 – Finishes | — | Walls | 5/8" Gypsum Board |  | 205.89 | 10% | 226.479 | SF
215 | 09 – Finishes | — | Walls | 2-1/2" Metal Studs @ 16" OC |  | 205.89 | 10% | 226.479 | SF
216 | 09 – Finishes | — | Walls | 2-1/2" Metal Runners Top & Bottom |  | 98.82 | 10% | 108.702 | LF
217 | 09 – Finishes | — | Walls | Acoustic Sealant |  | 98.82 | 10% | 108.702 | LF
218 | 09 – Finishes | — | Walls | 4'-2" Deep Soffit W/ 6'-0" Kicker Studs @ 16" OC |  | 32.15 | 0% | 32.15 | LF
219 | 09 – Finishes | — | Walls | 5/8" Gypsum Board |  | 133.97 | 10% | 147.367 | SF
220 | 09 – Finishes | — | Walls | 3-5/8" Metal Studs @ 16" OC |  | 150.71 | 10% | 165.781 | LF
221 | 09 – Finishes | — | Walls | 2-1/2" Metal Runners Top & Bottom |  | 64.3 | 10% | 70.73 | LF
222 | 09 – Finishes | — | Ceiling | 1'-0" Deep Gyp Board Soffit |  | 416.48 | 10% | 458.128 | SF
223 | 09 – Finishes | — | Ceiling | 1'-6" Deep Gyp Board Soffit |  | 138.96 | 10% | 152.856 | SF
224 | 09 – Finishes | — | Ceiling | 2'-6" Deep Gyp Board Soffit |  | 111.675 | 10% | 122.8425 | SF
225 | 09 – Finishes | — | Ceiling | 3'-6" Deep Gyp Board Soffit |  | 149.24 | 10% | 164.164 | SF
226 | 09 – Finishes | — | Ceiling | 6" Deep Gyp Board Soffit |  | 21.72 | 10% | 23.892 | SF
227 | 09 – Finishes | — | Ceiling | 5/8" Plywood Backing |  | 4401.1705 | 10% | 4841.2876 | SF
228 | 09 – Finishes | — | Ceiling | 2-1/2" Metal Stud Framing For Soffit |  | 4401.1705 | 10% | 4841.2876 | SF
229 | 09 – Finishes | — | Ceiling | 2-1/2" Metal Stud Runners For Soffit |  | 776.7 | 10% | 854.37 | LF
230 | 09 – Finishes | — | Ceiling | Act2: 2 X 2 Act | Armstrong Ceilings ; Optima Pb Concealed | 36314.68 | 10% | 39946.148 | SF
231 | 09 – Finishes | — | Ceiling | Gyp Board Ceiling |  | 4442 | 10% | 4886.2 | SF
232 | 09 – Finishes | — | Ceiling | Wd-1: Wood Ceiling | Armstrong Ceilings ; Woodworks Linear Veneered Open - Rift ; White Oak (Nro) | 1885.04 | 10% | 2073.544 | SF
233 | 09 – Finishes | — | Flooring | Lvt-1: Luxury Vinyl Tile | Mannington; Color: Active Lines Bend - Zing (Alb201) | 16733 | 10% | 18406.3 | SF
234 | 09 – Finishes | — | Flooring | Cpt-1: Carpet | Millikin; Color: Heavy Meta - Alloy Oxide (Aly259) | 15336 | 10% | 16869.6 | SF
235 | 09 – Finishes | — | Flooring | Cpt-2: Carpet (Assumed) | Millikin; Color: Heavy Meta - Alloy Oxide (Aly259) | 2468.9 | 10% | 2715.79 | SF
236 | 09 – Finishes | — | Flooring | Lvt-2: Luxury Vinyl Tile | Mannington; Color: Active Lines Crisscross - Zing (Alc201) | 1182 | 10% | 1300.2 | SF
237 | 09 – Finishes | — | Flooring | Rub-1: Rubber Flooring |  | 939.97 | 10% | 1033.967 | SF
238 | 09 – Finishes | — | Flooring | S Conc: Sealed Concrete Finish |  | 1921.7 | 10% | 2113.87 | SF
239 | 09 – Finishes | — | Flooring | P Tile-1: Ceramic Floor Tile- Field 1 | Daltile; Color: Stagecraft Spa 0148 - Glossy | 1577.4 | 10% | 1735.14 | SF
240 | 09 – Finishes | — | Flooring | P Tile-3: Porcelain Floor Tile | Daltile; Color: Dignitary - Luminary White Dr07 - Light Polish | 549.83 | 10% | 604.813 | SF
241 | 09 – Finishes | — | Flooring | P Tile-4: Porcelain Floor Tile | Daltile; Color: Dignitary - Superior Taupe Dr18 - Light Polish | 3952 | 10% | 4347.2 | SF
242 | 09 – Finishes | — | Flooring | P Tile-5: Porcelain Floor Tile | Daltile; Color: Dignitary - Notable Beige Dr09 - Light Polish | 655.9 | 10% | 721.49 | SF
243 | 09 – Finishes | — | Flooring | Grout Custom Tile Installation Systems |  | 6736 | 10% | 7409.6 | SF
244 | 09 – Finishes | — | Flooring | VB-1 Vinyl Base Johnsonite Color: 23 Vapor Gray CG |  | 10344 | 10% | 11378.4 | LF
245 | 09 – Finishes | — | Flooring | Tile Wall Base |  | 2275 | 10% | 2502.5 | LF
246 | 09 – Finishes | — | Wall Tile | P Tile-1: Ceramic Wall Tile- Field 1 | Daltile; Color: Stagecraft Spa 0148 - Glossy | 1700 | 10% | 1870 | SF
247 | 09 – Finishes | — | Wall Tile | P Tile-2 Porcelain Wall Tile | Daltile; Color: Ambassador - Wanderlust White Am36 Light Polish | 627.38 | 10% | 690.118 | SF
248 | 09 – Finishes | — | Wall Tile | Trench Drain |  | 18.07 | 10% | 19.877 | LF
249 | 09 – Finishes | — | Wall Tile | Stn-1: Stone Finish |  | 361.84 | 10% | 398.024 | SF
250 | 09 – Finishes | — | Wall Tile | Mounted P Lam-1 In Marline Wall System |  | 261.29 | 10% | 287.419 | SF
251 | 09 – Finishes | — | Wall Tile | A18 4'-0" P Tile-2 Wainscot | Porcelain Tile; Daltile; Color: Ambassador - Wanderlust White Am36 - Light Polish | 1523.9 | 0% | 1523.9 | LF
252 | 09 – Finishes | — | Exterior Finishes | Aluminum Composite Material (ACM-1) |  | 15750.7 | 10% | 17325.77 | SF
253 | 09 – Finishes | — | Exterior Finishes | Aluminum Composite Material (ACM-2) |  | 4475.08 | 10% | 4922.588 | SF
254 | 09 – Finishes | — | Exterior Finishes | Pre Finished Metal Coping |  | 486.77 | 10% | 535.447 | LF
255 | 09 – Finishes | — | Exterior Finishes | Stained Wood Veneer |  | 57.02 | 10% | 62.722 | SF
256 | 09 – Finishes | — | Exterior Finishes | 2" Rigid Insulation |  | 30507 | 10% | 33557.7 | SF
257 | 09 – Finishes | — | Paint | Paint @ Ceiling |  | 7167 | 10% | 7883.7 | SF
258 | 09 – Finishes | — | Paint | Paint Open To Structure |  | 3005.5 | 10% | 3306.05 | SF
259 | 09 – Finishes | — | Paint | Paint @ Walls |  | 168053 | 10% | 184858.3 | SF
260 | 09 – Finishes | — | Paint | Paint @ Door |  | 220 | 0% | 220 | EA
261 | 09 – Finishes | — | Paint | Paint @ Door Trims |  | 7480 | 10% | 8228 | LF
10 – SPECIALTIES
262 | 10 – Specialties | — | Bath Accessories | Tissue Dispenser |  | 120 | 0% | 120 | EA
263 | 10 – Specialties | — | Bath Accessories | Soap Dispenser |  | 17 | 0% | 17 | EA
264 | 10 – Specialties | — | Bath Accessories | Hand Dryer |  | 4 | 0% | 4 | EA
265 | 10 – Specialties | — | Bath Accessories | 42" Grab Bar |  | 18 | 0% | 18 | EA
266 | 10 – Specialties | — | Bath Accessories | 30" Grab Bar |  | 9 | 0% | 9 | EA
267 | 10 – Specialties | — | Bath Accessories | Mirror |  | 19 | 0% | 19 | EA
268 | 10 – Specialties | — | Bath Accessories | A1 Provide Stainless Steel Corner Guard, 4'-0" Aff. |  | 94 | 0% | 94 | EA
269 | 10 – Specialties | — | Bath Accessories | A3 Monitor |  | 20 | 0% | 20 | EA
270 | 10 – Specialties | — | Bath Accessories | A4 Paint Exposed Structural Steel Pt-5B. |  | 5 | 0% | 5 | EA
271 | 10 – Specialties | — | Bath Accessories | A5 Bottle Filler |  | 1 | 0% | 1 | EA
272 | 10 – Specialties | — | Bath Accessories | A10 Full Height Mirror. |  | 1 | 0% | 1 | EA
273 | 10 – Specialties | — | Bath Accessories | A12 Wall Mounted Cuh |  | 1 | 0% | 1 | EA
274 | 10 – Specialties | — | Bath Accessories | A14 Hcap Actuator. |  | 12 | 0% | 12 | EA
275 | 10 – Specialties | — | Bath Accessories | A19 Mbd/Tbd, To Be Purchased By Owner And Installed By Contractor. |  | 198 | 0% | 198 | EA
276 | 10 – Specialties | — | Bath Accessories | Fire Extinguisher |  | 28 | 0% | 28 | EA
277 | 10 – Specialties | — | Bath Accessories | 2'-0" Deep Lockers |  | 23 | 0% | 23 | EA
278 | 10 – Specialties | — | Bath Accessories | Shower Rod & Curtain 6'-4" H |  | 4 | 10% | 4.4 | LF
279 | 10 – Specialties | — | Elevator | 7'-8 5/8"X6'-11 1/8" Elevator 144'-9" H |  | 2 | 0% | 2 | EA
11 – EQUIPMENT
280 | 11 – Equipment | — | General | A15 Washer / Dryer |  | 1 | 0% | 1 | EA
281 | 11 – Equipment | — | General | A17 Wall Mounted Baby Changing Station, Install Soap Dispenser And Paper Towel Dispenser On Perpendicular Wall. |  | 6 | 0% | 6 | EA
282 | 11 – Equipment | — | General | Dish Washer |  | 1 | 0% | 1 | EA
283 | 11 – Equipment | — | General | Drinking Fountain |  | 5 | 0% | 5 | EA
284 | 11 – Equipment | — | General | Kitchen Hood |  | 1 | 0% | 1 | EA
285 | 11 – Equipment | — | General | Oven |  | 1 | 0% | 1 | EA
286 | 11 – Equipment | — | General | Refrigerator |  | 10 | 0% | 10 | EA
287 | 11 – Equipment | — | General | Motorized Roller Shades | Mrs Shades Hunter Douglas Color: Hazelnut | 706 | 0% | 706 | EA
12 – FURNISHINGS
288 | 12 – Furnishings | — | Millwork | 8'-2"X3'-10" Kitchen Island |  | 2 | 0% | 2 | EA
289 | 12 – Furnishings | — | Millwork | 9'-0"X3'-10" Kitchen Island |  | 1 | 0% | 1 | EA
290 | 12 – Furnishings | — | Millwork | 11'-2"X3'-10" Kitchen Island |  | 1 | 0% | 1 | EA
291 | 12 – Furnishings | — | Millwork | 13'-2"X3'-10" Kitchen Island |  | 1 | 0% | 1 | EA
292 | 12 – Furnishings | — | Millwork | Solid Plastic Toilet Partitions Wall W/ Doors | Toilet Partitions Scranton Products Color: Stainless - Rotary Brushed | 86.22 | 10% | 94.842 | LF
293 | 12 – Furnishings | — | Millwork | 1'-0" Deep Top Cabinet | P Lam-1 Plastic Laminate Vertical Surfaces Wilsonart Color: Natural Recon 7996-38 Fine Velvet Finish | 158.34 | 10% | 174.174 | LF
294 | 12 – Furnishings | — | Millwork | 2'-0" Deep Base Cabinet | P Lam-1 Plastic Laminate Vertical Surfaces Wilsonart Color: Natural Recon 7996-38 Fine Velvet Finish | 294.08 | 10% | 323.488 | LF
295 | 12 – Furnishings | — | Millwork | 2'-0" W Countertop | Ssf-1 Solid Surface Fabrications Bradley Torreon Color: Polar Ice | 588 | 10% | 646.8 | SF
296 | 12 – Furnishings | — | Millwork | 2'-0" Backsplash |  | 588.16 | 10% | 646.976 | SF
297 | 12 – Furnishings | — | Millwork | 2'-0" Deep Full Height Cabinet |  | 22.24 | 10% | 24.464 | LF
298 | 12 – Furnishings | — | Millwork | 2'-0" Deep Shelving |  | 115.7 | 10% | 127.27 | LF
31 – EARTHWORK
299 | 31 – Earthwork | — | Grading | Mild Grading |  | 48120 | 20% | 57744 | SF
300 | 31 – Earthwork | — | Grading | Excavation |  | 1099.6875 | 20% | 1319.625 | CY
301 | 31 – Earthwork | — | Grading | Backfill |  | 674.6875 | 20% | 809.625 | CY
32 – EXTERIOR IMPROVEMENTS
302 | 32 – Exterior Improvements | — | Pavement – PLANS | 4" Hot Mix Asphalt Pavement Grading Six (75) | 12" Aggregate Base Course ; CDOT Class 6 Compacted to 95% Of Modified Proctor | 41985.88 | 10% | 46184.468 | SF
303 | 32 – Exterior Improvements | — | Pavement | 6" Thick Concrete Pavement | 12" Aggregate Base Course ; CDOT Class 6 Compacted to 95% Of Modified Proctor | 564.85 | 10% | 621.335 | SF
304 | 32 – Exterior Improvements | — | Pavement | 6" Thick Future Concrete Roundabout Island | 12" Aggregate Base Course ; CDOT Class 6 Compacted to 95% Of Modified Proctor | 1809.94 | 10% | 1990.934 | SF
305 | 32 – Exterior Improvements | — | Concrete Sidewalk | 4" Thick Concrete Sidewalk | 6"x6" 8-8 WWF; 4" Min CDOT Class 6 A.B.C Compacted To 95% Of Modified Proctor; Construction Joint @ 5'-0" O.C | 11158.06 | 10% | 12273.866 | SF
306 | 32 – Exterior Improvements | — | Concrete Sidewalk | 12" Thick Concrete Pad |  | 107.64 | 10% | 118.404 | SF
307 | 32 – Exterior Improvements | — | Concrete Curbs | 18" Concrete Curb & Gutter |  | 1423.47 | 10% | 1565.817 | LF
308 | 32 – Exterior Improvements | — | Concrete Curbs | 6" Concrete Curb |  | 474.07 | 10% | 521.477 | LF
309 | 32 – Exterior Improvements | — | Site Signage | 12"x18" Parking Signage | 3" Metal Pipe (9' H) | 5 | 0% | 5 | EA
310 | 32 – Exterior Improvements | — | Site Signage | 30"x30" Stop Signage | 3" Metal Pipe (8' H) | 1 | 0% | 1 | EA
311 | 32 – Exterior Improvements | — | Retaining Wall | 12" Wide Redi-Rock Block Retaining Wall |  | 284 | 10% | 312.4 | SF
312 | 32 – Exterior Improvements | — | Retaining Wall | 12" Min CDOT Class 6 A.B.C Compacted To 95% Of Modified Proctor |  | 284 | 10% | 312.4 | SF
313 | 32 – Exterior Improvements | — | Retaining Wall | Excavation |  | 32.8704 | 10% | 36.1574 | CY
314 | 32 – Exterior Improvements | — | Signage Footing | 18"x18"x36" Concrete Footing |  | 2.75 | 10% | 3.025 | CY
315 | 32 – Exterior Improvements | — | Signage Footing | Excavation |  | 2.75 | 10% | 3.025 | CY
316 | 32 – Exterior Improvements | — | Miscellaneous | EV Charging Station |  | 2 | 0% | 2 | EA
317 | 32 – Exterior Improvements | — | Miscellaneous | Cip Concrete Seat Wall |  | 456 | 10% | 501.6 | SF
318 | 32 – Exterior Improvements | — | Miscellaneous | Stone Pavers | Note : Material Is Assumed | 43.52 | 10% | 47.872 | SF
319 | 32 – Exterior Improvements | — | Miscellaneous | 6" Stone Curb |  | 48.31 | 10% | 53.141 | LF
320 | 32 – Exterior Improvements | — | Miscellaneous | 42" High Metal Railing |  | 19.59 | 10% | 21.549 | LF
321 | 32 – Exterior Improvements | — | Miscellaneous | Metal Edger On Landscape |  | 23.43 | 10% | 25.773 | LF
322 | 32 – Exterior Improvements | — | Site Paint | 8" Wide Solid White Strip Line |  | 76.75 | 10% | 84.425 | LF
323 | 32 – Exterior Improvements | — | Site Paint | Paint ADA Parking Signage |  | 5 | 0% | 5 | EA
324 | 32 – Exterior Improvements | — | Site Paint | 4" Wide White Striping Paint |  | 2996.87 | 10% | 3296.557 | LF
325 | 32 – Exterior Improvements | — | Site Paint | 8" Wide Turning Line White Solid Strip Paint |  | 466.61 | 10% | 513.271 | LF
326 | 32 – Exterior Improvements | — | Trash Enclosure | 6" Thick Reinforced Concrete Slab |  | 3.963 | 10% | 4.3593 | CY
327 | 32 – Exterior Improvements | — | Trash Enclosure | Stone Veneer | 2-1/2" Metal Lath & Scratch Coat | 270 | 10% | 297 | SF
328 | 32 – Exterior Improvements | — | Trash Enclosure | 16"x4" Architectural Pre Cast Concrete Cap |  | 42.74 | 10% | 47.014 | LF
329 | 32 – Exterior Improvements | — | Trash Enclosure | 20'-0" Wide x 5'-0" High Metal Mesh Gate W/ Hardware's |  | 1 | 0% | 1 | EA
330 | 32 – Exterior Improvements | — | Trash Enclosure | 6" Dia Concrete Filled Bollard (42" H) |  | 5 | 0% | 5 | EA
331 | 32 – Exterior Improvements | — | Landscape | Rock Mulch |  | 11748.21 | 10% | 12923.031 | SF
332 | 32 – Exterior Improvements | — | Landscape | Cobble Mulch (4"-8") |  | 2406.36 | 10% | 2646.996 | SF
333 | 32 – Exterior Improvements | — | Plant Type: Deciduous Trees | Autumn Blaze Maple (2" Cal) |  | 4 | 0% | 4 | EA
334 | 32 – Exterior Improvements | — | Plant Type: Deciduous Trees | State Street Maple (2" Cal) |  | 27 | 0% | 27 | EA
335 | 32 – Exterior Improvements | — | Plant Type: Deciduous Trees | Sunburst Honeylocust (2" Cal) |  | 3 | 0% | 3 | EA
336 | 32 – Exterior Improvements | — | Plant Type: Deciduous Trees | Accolade Elm (2" Cal) |  | 10 | 0% | 10 | EA
337 | 32 – Exterior Improvements | — | Plant Type: Evergreen Trees | Moonglow Juniper (5 Gal) |  | 9 | 0% | 9 | EA
338 | 32 – Exterior Improvements | — | Plant Type: Evergreen Trees | Wichita Blue Juniper (5 Gal) |  | 5 | 0% | 5 | EA
339 | 32 – Exterior Improvements | — | Plant Type: Evergreen Trees | Bristlecone Pine (6' Ht.) |  | 1 | 0% | 1 | EA
340 | 32 – Exterior Improvements | — | Plant Type: Evergreen Trees | Austrian Pine (6' Ht.) |  | 10 | 0% | 10 | EA
341 | 32 – Exterior Improvements | — | Plant Type: Evergreen Trees | Scotch Pine (15 Gal) |  | 2 | 0% | 2 | EA
342 | 32 – Exterior Improvements | — | Plant Type: Deciduous Shrubs | Fernbush (5 Gal) |  | 4 | 0% | 4 | EA
343 | 32 – Exterior Improvements | — | Plant Type: Deciduous Shrubs | Whirling Butterflies (1 Gal) |  | 8 | 0% | 8 | EA
344 | 32 – Exterior Improvements | — | Plant Type: Deciduous Shrubs | American Plum (5 Gal) |  | 27 | 0% | 27 | EA
345 | 32 – Exterior Improvements | — | Plant Type: Deciduous Shrubs | Pawnee Buttes Sand Cherry (5 Gal) |  | 32 | 0% | 32 | EA
346 | 32 – Exterior Improvements | — | Plant Type: Deciduous Shrubs | Golden Currant (5 Gal) |  | 19 | 0% | 19 | EA
347 | 32 – Exterior Improvements | — | Plant Type: Evergreen Shrubs | Panchito Manzanita (5 Gal) |  | 48 | 0% | 48 | EA
348 | 32 – Exterior Improvements | — | Plant Type: Evergreen Shrubs | Mormon Tea (5 Gal) |  | 21 | 0% | 21 | EA
349 | 32 – Exterior Improvements | — | Plant Type: Evergreen Shrubs | Hidcote St. John'S Wort (5 Gal) |  | 3 | 0% | 3 | EA
350 | 32 – Exterior Improvements | — | Plant Type: Evergreen Shrubs | Color Guard Yucca (5 Gal) |  | 12 | 0% | 12 | EA
351 | 32 – Exterior Improvements | — | Plant Type: Ornamental Grasses | Side Oats Grama (1 Gal) |  | 176 | 0% | 176 | EA
352 | 32 – Exterior Improvements | — | Plant Type: Ornamental Grasses | Blonde Ambition Blue Grama Grass (1 Gal) |  | 48 | 0% | 48 | EA
353 | 32 – Exterior Improvements | — | Plant Type: Ornamental Grasses | Grey Sedge (1 Gal) |  | 66 | 0% | 66 | EA
354 | 32 – Exterior Improvements | — | Plant Type: Ornamental Grasses | Heavy Metal Switch Grass (1 Gal) |  | 29 | 0% | 29 | EA
355 | 32 – Exterior Improvements | — | Plant Type: Ornamental Grasses | Little Bluestem (1 Gal) |  | 109 | 0% | 109 | EA
356 | 32 – Exterior Improvements | — | Plant Type: Perennials | Coronado Hyssop (1 Gal) |  | 57 | 0% | 57 | EA
357 | 32 – Exterior Improvements | — | Plant Type: Perennials | Sunset Hyssop (1 Gal) |  | 10 | 0% | 10 | EA
358 | 32 – Exterior Improvements | — | Plant Type: Perennials | Fringed Sage (1 Gal) |  | 10 | 0% | 10 | EA
359 | 32 – Exterior Improvements | — | Plant Type: Perennials | Yellow Ice Plant (1 Gal) |  | 6 | 0% | 6 | EA
360 | 32 – Exterior Improvements | — | Plant Type: Perennials | Purple Coneflower (1 Gal) |  | 27 | 0% | 27 | EA
361 | 32 – Exterior Improvements | — | Plant Type: Perennials | Alpine Willowherb (1 Gal) |  | 40 | 0% | 40 | EA
362 | 32 – Exterior Improvements | — | Plant Type: Perennials | Sweet Woodruff (1 Gal) |  | 3 | 0% | 3 | EA
363 | 32 – Exterior Improvements | — | Plant Type: Perennials | Desert Four O'Clock (1 Gal) |  | 5 | 0% | 5 | EA
364 | 32 – Exterior Improvements | — | Plant Type: Perennials | Six Hills Giant Catmint (1 Gal) |  | 44 | 0% | 44 | EA
365 | 32 – Exterior Improvements | — | Plant Type: Perennials | Pikes Peak Penstemon (1 Gal) |  | 7 | 0% | 7 | EA
366 | 32 – Exterior Improvements | — | Plant Type: Perennials | Yellow Pineleaf Penstemon (1 Gal) |  | 10 | 0% | 10 | EA
367 | 32 – Exterior Improvements | — | Plant Type: Perennials | Desert Penstemon (1 Gal) |  | 11 | 0% | 11 | EA
368 | 32 – Exterior Improvements | — | Plant Type: Perennials | Rocky Mountain Penstemon (1 Gal) |  | 87 | 0% | 87 | EA
369 | 32 – Exterior Improvements | — | Plant Type: Perennials | Rose Cushion Phlox (1 Gal) |  | 4 | 0% | 4 | EA
370 | 32 – Exterior Improvements | — | Plant Type: Perennials | Black Eyed Susan (1 Gal) |  | 32 | 0% | 32 | EA
371 | 32 – Exterior Improvements | — | Plant Type: Perennials | Silver Stone Sedum (1 Gal) |  | 5 | 0% | 5 | EA
372 | 32 – Exterior Improvements | — | Plant Type: Perennials | Rough Goldenrod (1 Gal) |  | 26 | 0% | 26 | EA
373 | 32 – Exterior Improvements | — | Plant Type: Grasses And Forbs | Indian Ricegrass |  | 25 | 0% | 25 | EA
374 | 32 – Exterior Improvements | — | Plant Type: Grasses And Forbs | Tufted Hairgrass |  | 20 | 0% | 20 | EA
375 | 32 – Exterior Improvements | — | Plant Type: Grasses And Forbs | Little Bluestem |  | 15 | 0% | 15 | EA
376 | 32 – Exterior Improvements | — | Plant Type: Grasses And Forbs | Switchgrass |  | 15 | 0% | 15 | EA
377 | 32 – Exterior Improvements | — | Plant Type: Grasses And Forbs | Canadad Wildrye |  | 15 | 0% | 15 | EA
378 | 32 – Exterior Improvements | — | Plant Type: Grasses And Forbs | Blue Grama |  | 5 | 0% | 5 | EA
379 | 32 – Exterior Improvements | — | Plant Type: Grasses And Forbs | Spikerush |  | 2.5 | 0% | 2.5 | EA
380 | 32 – Exterior Improvements | — | Plant Type: Grasses And Forbs | Baltic Rush |  | 2.5 | 0% | 2.5 | EA
381 | 32 – Exterior Improvements | — | Landscape Requirements | Landscape Minimum Lot Coverage (8%) |  | 66970 | 0% | 66970 | SF
382 | 32 – Exterior Improvements | — | Landscape Requirements | Frontage Landscape (1 Tree Per 30Ft) |  | 28 | 0% | 28 | EA
383 | 32 – Exterior Improvements | — | Landscape Requirements | Tree And Shrubs Within Landscape Area (1 Tree & 3 | Shrubs Per 800 Sq. Ft | 800 | 0% | 800 | SF
384 | 32 – Exterior Improvements | — | Landscape Requirements | Parking Lot Islands To Be 6% Of | Parking Area | 5575 | 0% | 5575 | SF
385 | 32 – Exterior Improvements | — | Native Seed | Indian Ricegrass |  | 6910.7775 | 10% | 7601.8552 | SF
386 | 32 – Exterior Improvements | — | Native Seed | Tufted Hairgrass |  | 5528.622 | 10% | 6081.4842 | SF
387 | 32 – Exterior Improvements | — | Native Seed | Little Bluestem |  | 4146.4665 | 10% | 4561.1132 | SF
388 | 32 – Exterior Improvements | — | Native Seed | Switchgrass |  | 4146.4665 | 10% | 4561.1132 | SF
389 | 32 – Exterior Improvements | — | Native Seed | Canadad Wildrye |  | 4146.4665 | 10% | 4561.1132 | SF
390 | 32 – Exterior Improvements | — | Native Seed | Blue Grama |  | 1382.1555 | 10% | 1520.371 | SF
391 | 32 – Exterior Improvements | — | Native Seed | Spikerush |  | 691.0778 | 10% | 760.1855 | SF
392 | 32 – Exterior Improvements | — | Native Seed | Bailtic Rush |  | 691.0778 | 10% | 760.1855 | SF
33 – UTILITIES
393 | 33 – Utilities | — | Pipes – PLANS | 8" CMP Storm Drain Pipe |  | 292.08 | 10% | 321.288 | LF
394 | 33 – Utilities | — | Pipes | 4" PVC Storm Drain Pipe |  | 76.86 | 10% | 84.546 | LF
395 | 33 – Utilities | — | Pipes | 6" C900 DR-18 PVC Fire Hydrant Service |  | 686.89 | 10% | 755.579 | LF
396 | 33 – Utilities | — | Pipes | 4" C900 DR-18 PVC Fire Hydrant Service |  | 47.68 | 10% | 52.448 | LF
397 | 33 – Utilities | — | Pipes | 15" SDS SD Pipe |  | 7.26 | 10% | 7.986 | LF
398 | 33 – Utilities | — | Pipes | 12" SDS SD Pipe |  | 4.01 | 10% | 4.411 | LF
399 | 33 – Utilities | — | Pipes | 6" SDR35 PVC Sanitary Pipe |  | 154.93 | 10% | 170.423 | LF
400 | 33 – Utilities | — | Pipes | 8" PVC Storm Drain Pipe |  | 14.73 | 10% | 16.203 | LF
401 | 33 – Utilities | — | Pipes | Electric Line |  | 445.86 | 10% | 490.446 | LF
402 | 33 – Utilities | — | Miscellaneous | 5'-6" Dia Manhole (6' Deep) |  | 1 | 0% | 1 | EA
403 | 33 – Utilities | — | Miscellaneous | Fire Hydrant |  | 1 | 0% | 1 | EA
404 | 33 – Utilities | — | Miscellaneous | 3'-0"x3'-8"x2'-0" Drain Outlet |  | 4 | 0% | 4 | EA
405 | 33 – Utilities | — | Miscellaneous | 4"x4" Tee |  | 1 | 0% | 1 | EA
406 | 33 – Utilities | — | Miscellaneous | Irrigation Water Meter |  | 1 | 0% | 1 | EA
407 | 33 – Utilities | — | Miscellaneous | Irrigation Water Back Flow Preventor |  | 1 | 0% | 1 | EA
408 | 33 – Utilities | — | Miscellaneous | Water Meter Vault |  | 1 | 0% | 1 | EA
409 | 33 – Utilities | — | Miscellaneous | 8"x4" Tee |  | 1 | 0% | 1 | EA
410 | 33 – Utilities | — | Miscellaneous | 8" Gate Vale |  | 2 | 0% | 2 | EA
411 | 33 – Utilities | — | Miscellaneous | 4" Gate Valve |  | 1 | 0% | 1 | EA
412 | 33 – Utilities | — | Miscellaneous | 8"x6" Tee |  | 1 | 0% | 1 | EA
413 | 33 – Utilities | — | Miscellaneous | 6" Gate Valve |  | 1 | 0% | 1 | EA
414 | 33 – Utilities | — | Miscellaneous | Fire Department Connection |  | 1 | 0% | 1 | EA
415 | 33 – Utilities | — | Miscellaneous | 6" 22.5 Degree Bent |  | 1 | 0% | 1 | EA
416 | 33 – Utilities | — | Miscellaneous | 6" (45 Degree Bent) |  | 1 | 0% | 1 | EA
417 | 33 – Utilities | — | Miscellaneous | 6"x6"x6" Tee |  | 1 | 0% | 1 | EA
418 | 33 – Utilities | — | Miscellaneous | Detention Basin (2.5' Deep) |  | 6039.67 | 10% | 6643.637 | SF
419 | 33 – Utilities | — | Miscellaneous | Detention Swale (2.2' Deep) |  | 8102.93 | 10% | 8913.223 | SF
420 | 33 – Utilities | — | Trenching | Excavation |  | 2092 | 10% | 2301.2 | CY
421 | 33 – Utilities | — | Trenching | Stone Bedding |  | 83.2222 | 10% | 91.5444 | CY
422 | 33 – Utilities | — | Trenching | Backfill |  | 1982 | 10% | 2180.2 | CY
423 | 33 – Utilities | — | Irrigation Pipes | 1.5" Class 200 BE PVC Irrigation Pipe |  | 1524.46 | 10% | 1676.906 | LF
424 | 33 – Utilities | — | Irrigation Pipes | 1" Class 200 BE PVC Irrigation Pipe |  | 1804.21 | 10% | 1984.631 | LF
425 | 33 – Utilities | — | Irrigation Pipes | UV Radiation Resistant P.E Pipe |  | 2715.21 | 10% | 2986.731 | LF
426 | 33 – Utilities | — | Irrigation Pipes | 2'-0" Wide Sleeve |  | 328.23 | 10% | 361.053 | LF
427 | 33 – Utilities | — | Miscellaneous | Tree Drip Ring | Netafim Techline CV - TLHCVXR-RW11-12 | 42 | 0% | 42 | EA
428 | 33 – Utilities | — | Miscellaneous | Flush Cap : PVC Ball Valve W/ Drip Indicator |  | 7 | 0% | 7 | EA
429 | 33 – Utilities | — | Miscellaneous | Irrigation Point Of Connection |  | 1 | 0% | 1 | EA
430 | 33 – Utilities | — | Miscellaneous | Isolation Gate Valve Assembly |  | 4 | 0% | 4 | EA
431 | 33 – Utilities | — | Miscellaneous | Quick Coupling Valve Assembly |  | 4 | 0% | 4 | EA
432 | 33 – Utilities | — | Miscellaneous | Remote Control Valve Assembly |  | 24 | 0% | 24 | EA
433 | 33 – Utilities | — | Miscellaneous | Rain Bird WR-2 Rain/Freeze Sensor |  | 1 | 0% | 1 | EA
434 | 33 – Utilities | — | Miscellaneous | Irrigation Controller Rain Bird ESP-ME3 |  | 1 | 0% | 1 | EA
Quantities taken off from the contract drawings using PlanSwift / Bluebeam Revu. 'Qty' is the net measured quantity; 'Qty w/ Waste' includes the waste factor shown ("-" = no waste applied). Pricing intentionally excluded from this sample.