## Summary
ABLE ESTIMATING LLC
Accuracy • Ability • On Time ¦ ableestimating.com ¦ (786) 887-6161 ¦ hire@ableestimating.com
Quantity Takeoff Summary
Project: | Residential Renovation & Second-Floor Addition
Location: | Florida
Scope: | Complete GC takeoff – concrete, framing, roofing, openings, finishes, specialties & MEP
Deliverable: | Itemized quantity takeoff – quantities only
CSI Division | Line Items | Each (EA) | Linear Ft (LF) | Square Ft (SF) | Cubic Yd (CY) | Key Items
03 – Concrete | 2 | 0 | 0 | 0 | 9.6933 | Concrete Footing, 4" Thick Concrete Slab
06 – Wood, Plastics & Composites | 8 | 0 | 1609 | 0 | 0 | Post, Beams, Flooring Framing, Stair
07 – Thermal & Moisture Protection | 4 | 0 | 1370 | 5463 | 0 | Roofing
08 – Openings | 3 | 11 | 0 | 0 | 0 | Doors, Windows
09 – Finishes | 39 | 0 | 3356 | 25042 | 0 | Stud Exterior Wall, Stud Wall, Parapet Wall, Floor Finishes, Wall Finishes, …
10 – Specialties | 6 | 2 | 189 | 24 | 0 | Counter Top, Guard Rail @ Bridge, Guard Rail @ Deck, Shower Enclosure, 12" Deep Closet
22 – Plumbing | 4 | 7 | 0 | 1300 | 0 | Fixtures
23 – HVAC | 1 | 0 | 0 | 1300 | 0 | Ducting, Connections &…
26 – Electrical | 1 | 0 | 0 | 1300 | 0 | Wiring, Conduits & Accessories
Total | 68 | 20 | 6524 | 34429 | 9.6933
What's included in our takeoffs
• Itemized quantities by CSI division, floor level, category and size
• Color-coded marked-up drawings in PlanSwift / Bluebeam Revu
• Specs pulled from plans and schedules (types, sizes, materials, models)
• Waste factors applied where needed
• Optional: full pricing with material, labor, overhead & profit
Takeoffs delivered in 24–48 hours • Start with a $200 trial project • ableestimating.com

## Quantity Takeoff
ABLE ESTIMATING LLC
Accuracy • Ability • On Time ¦ ableestimating.com ¦ (786) 887-6161 ¦ hire@ableestimating.com
Detailed Quantity Takeoff
Project: |  | Residential Renovation & Second-Floor Addition
Location: |  | Florida
Scope: |  | Complete GC takeoff – concrete, framing, roofing, openings, finishes, specialties & MEP
Item # | CSI Division | Level | Category | Item Description | Specification / Notes | Qty | Waste % | Qty w/ Waste | Unit
03 – CONCRETE
1 | 03 – Concrete | — | General | (24" x 24" x 12") Concrete Footing ( 9 EA) |  | 1.3333 | 0% | 1.3333 | CY
2 | 03 – Concrete | — | General | 4" Thick Concrete Slab (Assumed) |  | 8.36 | 0% | 8.36 | CY
06 – WOOD, PLASTICS & COMPOSITES
3 | 06 – Wood, Plastics & Composites | Second Floor | Post | (6X6) P.T Post (9 EA) |  | 110 | 0% | 110 | LF
4 | 06 – Wood, Plastics & Composites | Second Floor | Beams | (4X8) Wood Beam @ Deck (Assumed) |  | 127 | 0% | 127 | LF
5 | 06 – Wood, Plastics & Composites | Second Floor | Beams | (4X8) Wood Beam @ Bridge (Assumed) |  | 38 | 0% | 38 | LF
6 | 06 – Wood, Plastics & Composites | Second Floor | Flooring Framing | (2X8) Tji Floor Joist @ 16" O.C (Assumed) (1657 SF) |  | 1250 | 0% | 1250 | LF
7 | 06 – Wood, Plastics & Composites | Second Floor | Stair | 3" Wide Stair | (10") Tread 18 Ea; (7") Riser 19 Ea | 1 | 0% | 1 | LOC
8 | 06 – Wood, Plastics & Composites | Second Floor | Stair | 3" Round Wide Stair | (10") Tread 14 Ea; (7") Riser 15 Ea | 1 | 0% | 1 | LOC
9 | 06 – Wood, Plastics & Composites | Second Floor | Stair | (36"-H) Painted Stair Guard Rail |  | 42 | 0% | 42 | LF
10 | 06 – Wood, Plastics & Composites | Second Floor | Stair | Painted Hand Rail |  | 42 | 0% | 42 | LF
07 – THERMAL & MOISTURE PROTECTION
11 | 07 – Thermal & Moisture Protection | — | Roofing (Assumed) | Roof Asphalt Shingles |  | 1821 | 0% | 1821 | SF
12 | 07 – Thermal & Moisture Protection | — | Roofing (Assumed) | #30 Felt Underlayment |  | 1821 | 0% | 1821 | SF
13 | 07 – Thermal & Moisture Protection | — | Roofing (Assumed) | 3/8" Thick Exterior Grade Plywood Or 7/16" Thick Osb |  | 1821 | 0% | 1821 | SF
14 | 07 – Thermal & Moisture Protection | — | Roofing (Assumed) | Roof Rafters @ 16" O.C (Assumed) (1821 SF) |  | 1370 | 0% | 1370 | LF
08 – OPENINGS
15 | 08 – Openings | Second Floor | Doors | (3'-0" X 6'-8") Single Leaf Door W/ Painted Frame |  | 7 | 0% | 7 | EA
16 | 08 – Openings | Second Floor | Windows | (9'-10" X 8'-6") Triple Sliding Window |  | 3 | 0% | 3 | EA
17 | 08 – Openings | Second Floor | Windows | (9'-10" X 6'-6") Triple Sliding Window |  | 1 | 0% | 1 | EA
09 – FINISHES
18 | 09 – Finishes | Second Floor | (2X6) Stud Exterior Wall (132 LF & 9'-H) | (5/8") Gypsum Wall Board |  | 1188 | 0% | 1188 | SF
19 | 09 – Finishes | Second Floor | (2X6) Stud Exterior Wall (132 LF & 9'-H) | (2x6) Wood Studs @ 16" O.C. (101 EA & 1188 SF) |  | 1188 | 0% | 1188 | SF
20 | 09 – Finishes | Second Floor | (2X6) Stud Exterior Wall (132 LF & 9'-H) | Insulation |  | 1188 | 0% | 1188 | SF
21 | 09 – Finishes | Second Floor | (2X6) Stud Exterior Wall (132 LF & 9'-H) | Plywood Sheathing |  | 1188 | 0% | 1188 | SF
22 | 09 – Finishes | Second Floor | (2X6) Stud Exterior Wall (132 LF & 9'-H) | Top & Bottom Plates |  | 396 | 0% | 396 | LF
23 | 09 – Finishes | Second Floor | (2X6) Stud Exterior Wall (132 LF & 9'-H) | Sealant (As Req.) |  | 528 | 0% | 528 | LF
24 | 09 – Finishes | Second Floor | (2X6) Stud Exterior Wall (132 LF & 9'-H) | (2X6) Stud Exterior Wall (13'-H) |  | 28 | 0% | 28 | LF
25 | 09 – Finishes | Second Floor | (2X6) Stud Exterior Wall (28 LF & 13'-H) | (5/8") Gypsum Wall Board |  | 364 | 0% | 364 | SF
26 | 09 – Finishes | Second Floor | (2X6) Stud Exterior Wall (28 LF & 13'-H) | (2x6) Wood Studs @ 16" O.C. (23 EA & 364 SF) |  | 364 | 0% | 364 | SF
27 | 09 – Finishes | Second Floor | (2X6) Stud Exterior Wall (28 LF & 13'-H) | Insulation |  | 364 | 0% | 364 | SF
28 | 09 – Finishes | Second Floor | (2X6) Stud Exterior Wall (28 LF & 13'-H) | Plywood Sheathing |  | 364 | 0% | 364 | SF
29 | 09 – Finishes | Second Floor | (2X6) Stud Exterior Wall (28 LF & 13'-H) | Top & Bottom Plates |  | 84 | 0% | 84 | LF
30 | 09 – Finishes | Second Floor | (2X6) Stud Exterior Wall (28 LF & 13'-H) | Sealant (As Req.) |  | 112 | 0% | 112 | LF
31 | 09 – Finishes | Second Floor | (2X4) Stud Wall (43 LF & 9'-H) | (5/8") Gypsum Wall Board |  | 387 | 0% | 387 | SF
32 | 09 – Finishes | Second Floor | (2X4) Stud Wall (43 LF & 9'-H) | (2x4) Wood Studs @ 16" O.C. (23 EA & 387 SF) |  | 387 | 0% | 387 | SF
33 | 09 – Finishes | Second Floor | (2X4) Stud Wall (43 LF & 9'-H) | Insulation |  | 387 | 0% | 387 | SF
34 | 09 – Finishes | Second Floor | (2X4) Stud Wall (43 LF & 9'-H) | Moisture Board |  | 387 | 0% | 387 | SF
35 | 09 – Finishes | Second Floor | (2X4) Stud Wall (43 LF & 9'-H) | Top & Bottom Plates |  | 129 | 0% | 129 | LF
36 | 09 – Finishes | Second Floor | (2X4) Stud Wall (43 LF & 9'-H) | Sealant (As Req.) |  | 172 | 0% | 172 | LF
37 | 09 – Finishes | Second Floor | (2X4) Stud Wall (61 LF & 9'-H) | (5/8") Gypsum Wall Board |  | 1098 | 0% | 1098 | SF
38 | 09 – Finishes | Second Floor | (2X4) Stud Wall (61 LF & 9'-H) | (2x4) Wood Studs @ 16" O.C. (47 EA & 549 SF) |  | 549 | 0% | 549 | SF
39 | 09 – Finishes | Second Floor | (2X4) Stud Wall (61 LF & 9'-H) | Insulation |  | 549 | 0% | 549 | SF
40 | 09 – Finishes | Second Floor | (2X4) Stud Wall (61 LF & 9'-H) | Top & Bottom Plates |  | 183 | 0% | 183 | LF
41 | 09 – Finishes | Second Floor | (2X4) Stud Wall (61 LF & 9'-H) | Sealant (As Req.) |  | 244 | 0% | 244 | LF
42 | 09 – Finishes | Second Floor | Parapet Wall (185 LF & 2'-H) | Plywood Sheathing |  | 3330 | 0% | 3330 | SF
43 | 09 – Finishes | Second Floor | Parapet Wall (185 LF & 2'-H) | (2x4) Wood Studs @ 16" O.C. (141 EA & 1665 SF) |  | 1665 | 0% | 1665 | SF
44 | 09 – Finishes | Second Floor | Parapet Wall (185 LF & 2'-H) | Insulation |  | 1665 | 0% | 1665 | SF
45 | 09 – Finishes | Second Floor | Parapet Wall (185 LF & 2'-H) | Top & Bottom Plates |  | 555 | 0% | 555 | LF
46 | 09 – Finishes | Second Floor | Parapet Wall (185 LF & 2'-H) | Sealant (As Req.) |  | 740 | 0% | 740 | LF
47 | 09 – Finishes | Second Floor | Parapet Wall (185 LF & 2'-H) | Coping |  | 185 | 0% | 185 | LF
48 | 09 – Finishes | Second Floor | Floor Finishes | Flooring @ Bath |  | 136 | 0% | 136 | SF
49 | 09 – Finishes | Second Floor | Floor Finishes | Flooring @ Master Bedroom |  | 236 | 0% | 236 | SF
50 | 09 – Finishes | Second Floor | Floor Finishes | Flooring @ Library |  | 302 | 0% | 302 | SF
51 | 09 – Finishes | Second Floor | Floor Finishes | Flooring @ Bridge |  | 183 | 0% | 183 | SF
52 | 09 – Finishes | Second Floor | Floor Finishes | Flooring @ Deck |  | 648 | 0% | 648 | SF
53 | 09 – Finishes | Second Floor | Wall Finishes | Paint Finish (Assumed) |  | 3550 | 0% | 3550 | SF
54 | 09 – Finishes | Second Floor | Wall Finishes | Wall Tiles |  | 220 | 0% | 220 | SF
55 | 09 – Finishes | Second Floor | RCP | 5/8" Gypsum Board Ceiling (Assumed) |  | 1820 | 0% | 1820 | SF
56 | 09 – Finishes | Second Floor | Exterior Finishes | Stucco (Assumed) |  | 1335 | 0% | 1335 | SF
10 – SPECIALTIES
57 | 10 – Specialties | Second Floor | General | Counter Top |  | 24 | 0% | 24 | SF
58 | 10 – Specialties | Second Floor | General | (36"-H) Guard Rail @ Bridge |  | 34 | 0% | 34 | LF
59 | 10 – Specialties | Second Floor | General | (36"-H) Guard Rail @ Deck |  | 124 | 0% | 124 | LF
60 | 10 – Specialties | Second Floor | General | (4'-6" X 3'-6") Shower Enclosure |  | 1 | 0% | 1 | EA
61 | 10 – Specialties | Second Floor | General | (2'-6" X 5'-0") Shower Enclosure |  | 1 | 0% | 1 | EA
62 | 10 – Specialties | Second Floor | General | 12" Deep Closet (Assumed) |  | 31 | 0% | 31 | LF
22 – PLUMBING
63 | 22 – Plumbing | Second Floor | General | Piping, Connections & Accessories |  | 1300 | 0% | 1300 | SF
64 | 22 – Plumbing | Second Floor | Fixtures | Water Closet |  | 2 | 0% | 2 | EA
65 | 22 – Plumbing | Second Floor | Fixtures | Lavatory |  | 3 | 0% | 3 | EA
66 | 22 – Plumbing | Second Floor | Fixtures | Shower Head W/ Shower Drain |  | 2 | 0% | 2 | EA
23 – HVAC
67 | 23 – HVAC | Second Floor | General | Ducting, Connections & Accessories |  | 1300 | 0% | 1300 | SF
26 – ELECTRICAL
68 | 26 – Electrical | Second Floor | General | Wiring, Conduits & Accessories |  | 1300 | 0% | 1300 | SF
Quantities taken off from the contract drawings using PlanSwift / Bluebeam Revu. 'Qty' is the net measured quantity; 'Qty w/ Waste' includes the waste factor shown ("-" = no waste applied). Pricing intentionally excluded from this sample.